## Version number
60101 - Appendix 2 Vesuvius Permit to Work Masters v1.0

## CONFINED SPACE PERMIT TO WORK
PERMIT TO WORK
CONFINED SPACE | [7 empty] | Permit Number:
JOB LOCATION :
JOB DETAILS :
IS ANY OTHER WORK CURRENTLY UNDERTAKEN LOCALLY THAT MAY AFFECT THIS PERMIT : YES / NO . IF YES GIVE DETAILS.
THIS PERMIT IS ONLY VALID WHEN ALL SECTIONS ARE COMPLETE. DO NOT PROGRESS WITH YOUR WORK UNTIL YOUR PERMIT HAS BEEN AUTHORISED BY THE RELEVANT MEMBERS OF STAFF AND THE "NO SCORING" FROM THE PRECAUTION CHECKLIST HAVE BEEN RESOLVED !
PRECAUTIONS CHECKLIST
PLEASE ANSWER THE FOLLOWING QUESTIONS TRUTHFULLY, IF IN DOUBT, CONSULT YOUR MANAGER FOR ASSISTANCE. | [8 empty] | Yes | No* | N/a
1 - Confirm that work in the confined space cannot be avoided?
2 - Has a risk assessment on the shopfloor been carried out and a safe system of work is proposed and all interested parties trained in ensuring they follow it?
3 - Are the persons involved in the job, qualified, competent, medically fit & trained to undertake work in confined spaces?
4 - Are emergency arrangements agreed & in place if we need to rescue or safely remove an injured person?
5 - Is a clear means of communication readily available? Refer to risk assessment.
6 - Have all services (gas, steam, hazardous materials) & pipework been identified, safely isolated/locked off before working?
7 - Where necessary, has the confined space been purged with steam, water, gas or air?
8 - Has the confined space been electrically isolated, locked out and tested for residual energy (LTT)?
9 - Has the area around/above/below where work will take place been cordoned off?
10 - Is the temperature of the confined space below 35 Deg/c when cooled to work inside?
11 - For Resin Reactors: Has the reactor been steamed through to recovery for at least 15 minutes?
12 - Is a supply of fresh respirable air assured or is direct ventilation required and provided? (No compressed air as a supply source)
13 - Is there a safe means of accessing and exiting the confined space at all times?
14 - Are safety harnesses, lines, tripods, winches & any other safety equipment in good condition and readily accessible if needed?
15 - Is appropriate self contained breathing apparatus supplied, serviced and inspected to ensure it is fit for use at all times?
16 - Has a trained look out or emergency rescuer been nominated to respond immediately in the event of an emergency?
17 - Are PPE required by risk assessment been provided and worn?
18 - Are adequate Tools to perform the task been fit for purpose? (ATEX, low voltage, intrinsically safe and non spark)
19 - Have any other hazardous materials or conditions you could come into contact with been removed? If Yesidentify with controls.
20 - Have all sludge, deposits, powder spills, fumes, materials in chutes, bins and pipes been removed to ensure safe working?
21 - Has fire suppression equipment, other valves or inlets which could allow other materials to enter been inspected and isolated?
22 - Have all risk of falling object in the confined space have been removed?
23 - Is competent supervision provided and a nominated emergency watchperson present throughout the duration of the work?
24 - Have any hazardous gases present been identified and appropriate monitoring equipment been provided?
25 - Is a safe atmosphere ensured? If not, complete an atmosphere test and enter measuring results for appropriate gases below.
26 - Are sources of lighting and levels of lighting safe and appropriate for the working atmosphere?
Before the Operation | Hour | By | Middle of Operation |  | Hour | By | End of the Operation |  | Hour | By
OXYGEN | Value : | Pass / Fail | OXYGEN |  | Value : | Pass / Fail | OXYGEN |  | Value : | Pass / Fail
CARBON MONOXIDE | Value : | Pass / Fail | CARBON MONOXIDE |  | Value : | Pass / Fail | CARBON MONOXIDE |  | Value : | Pass / Fail
H2S | Value : | Pass / Fail | H2S |  | Value : | Pass / Fail | H2S |  | Value : | Pass / Fail
COMBINED EXPLOSIVES | Value : | Pass / Fail | COMBINED EXPLOSIVES |  | Value : | Pass / Fail | COMBINED EXPLOSIVES |  | Value : | Pass / Fail
OTHER (SPECIFY) | Value : | Pass / Fail | OTHER (SPECIFY) |  | Value : | Pass / Fail | OTHER (SPECIFY) |  | Value : | Pass / Fail
OTHER (SPECIFY) | Value : | Pass / Fail | OTHER (SPECIFY) |  | Value : | Pass / Fail | OTHER (SPECIFY) |  | Value : | Pass / Fail
In case of FAIL Value or in case of GAS DETECTOR ALARM, STOP THE OPERATION and LEAVE CONFINED SPACE IMMEDIATELY.
Any other precautions required?
Other safety equipment required?
AUTHORISATION ACCEPTANCE
I confirm that I have verified the above informations and ensured that the necessary precautions have been taken. In case of additional high risk activities, i have completed the additional permit to work (Hot Work, Electrical or Work at height Permit to work). I confirm confined space work cannot be avoided so a safe system of work has been agreed and will be followed. It is safe to carry out the work as defined above and the permit information has been explained to all workers involved. I accept responsibility for the work to be completed as agreed. NOTE: WHERE CONTINUOUS ATMOSPHERIC MONITORING IS NEEDED, THE WATCHPERSON PERFORMS THIS TASK. * Any "No scoring" in the precaution checks must have been solved prior to Permit to Work acceptance.
[5 empty] | COMPANY |  | SIGNATURE |  | PERMIT STARTS
PERMIT ISSUER | NAME | [7 empty] | Day | Month | Year
PERSON IN CHARGE | NAME | [8 empty] | Hour | Min
PERMIT APPLICANT | NAME | [7 empty] | PERMIT EXPIRES
WATCH PERSON | NAME | [7 empty] | Day | Month | Year
WORKING PARTY 1 | NAME | [8 empty] | Hour | Min
WORKING PARTY 2 | NAME
WORKING PARTY 3 | NAME | [7 empty] | TASK DURATION :
WORKING PARTY 4 | NAME
HANDOVER
I confirm that the work has not been completed and I'm handing the task over.
[5 empty] | COMPANY |  | SIGNATURE
PERMIT ISSUER | NAME | [7 empty] | Day | Month | Year
PERMIT APPLICANT | NAME | [8 empty] | Hour | Min
WATCH PERSON | NAME
I confirm that that I have been briefed and reviewed the current status of the work area and accept the controls in place.
[5 empty] | COMPANY |  | SIGNATURE
NEW PERMIT ISSUER | NAME | [7 empty] | Day | Month | Year
NEW PERMIT APPLICANT | NAME | [8 empty] | Hour | Min
NEW WATCH PERSON | NAME
HAND BACK AND CANCELLATION
I confirm that the work has been completed/partially completed*, checked by myself, and the area left in safe and tidy conditions. (*delete as appropriate)
PERMIT APPLICANT | NAME |  |  |  |  | Date | Hour | Min | Signature :
I have inspected the completed/partially completed* after work and hereby cancel this permit. (*delete as appropriate) All man have withdraw from the confined space.
WATCH PERSON | NAME |  |  |  |  | Date | Hour | Min | Signature :
PERMIT ISSUER | NAME |  |  |  |  | Date | Hour | Min | Signature :
TASK OVERVIEW / SAFE SYSTEM OF WORK (List Steps in order)
STEP 1
STEP 2
STEP 3
STEP 4
STEP 5
STEP 6
STEP 7
RISK ASSESSMENT
STEP | WHAT COULD GO WRONG ? (MACHINE, EQUIPMENT, PEOPLE, ORGANISATION, ENVIRONMENT) |  |  | HOW COULD IT HURT SOMEBODY ? (INCLUDING WHO CAN BE HARMED) - WITHOUT ANY CONTROLS. |  |  | CONTROLS (COLLECTIVE PROTECTION, PPE, INSTRUCTION, TRAINING, VISUALISATION, OTHERS) |  |  | IMPLEMENTED ?
EMERGENCY / RESCUE PLAN
RESCUE PLAN A :
RESCUE PLAN B (IN CASE PLAN A FAILS) :
AUDIT (At least one per shift)
WHO : | [7 empty] | DATE :
ACTION TO BE IMPLEMENTED | [7 empty] | WHO : |  | WHEN :
ACTION TO BE IMPLEMENTED | [7 empty] | WHO : |  | WHEN :
ACTION TO BE IMPLEMENTED | [7 empty] | WHO : |  | WHEN :

## HOT WORK PERMIT TO WORK
PERMIT TO WORK
HOT WORK | [6 empty] | Permit Number:
JOB LOCATION :
JOB DETAILS :
IS ANY OTHER WORK CURRENTLY UNDERTAKEN THAT MAY AFFECT THIS PERMIT : YES / NO . IF YES GIVE DETAILS.
THIS PERMIT IS ONLY VALID WHEN ALL SECTIONS ARE COMPLETE. DO NOT PROCESS WITH YOUR WORK UNTIL YOUR PERMIT HAS BEEN AUTHORISED BY THE RELEVANT MEMBERS OF STAFF AND THE "NO SCORING" FROM THE PRECAUTION CHECKLIST HAVE BEEN SOLVED !
PRECAUTIONS CHECKLIST
PLEASE ANSWER THE FOLLOWING QUESTIONS TRUTHFULLY, IF IN DOUBT, CONSULT YOUR MANAGER FOR ASSISTANCE. | [7 empty] | Yes | No | N/A
1 - Has a risk assessment on the shopfloor been carried out? And a safe system of work been proposed and all interested parties trained in ensuring they follow this?
2 - Are emergency arrangements agreed & formally in place in the event of a need to rescue or safely remove of an injured person?
3 - Are the persons involved in the job qualified to undertake hot work?
4 - Presence of a fire extinguisher within 5m that would be accessible in the event of a fire
5 - No flammable or combustible materials within 10m (in 3 dimensions), unless damped down, protected or separated by with a wall or fireproof protection
6 - 2nd person present acting as a continuous watch for a period determined by risk assessment including at minimum 30 minutes after the work has been completed, if in a specifically dedicated hot work area free from all combustible material; in any other situation (area not specifically dedicated to hot work or presence of combustibles), refer to Appendix 1 of the High-Risk Activities standard
7 - All persons in the hot work area wearing adequate PPE
8 - The person carrying out the task and the 2nd person (watch) must be trained to use a fire extinguisher
9 - Adequate measures to protect others from welding arc flash
10 - Is the area properly isolated to remove any risk for external people to the hot work?
11 - Is there proper ventilation provided to remove fumes?
12 - Is the hot work equipment to be used in good condition and fit for purpose ?
13 - Is competent supervision provided?
14 - Has the Fire procedure been explained?
15 - Neighbouring areas assessed for risk of heat transfer?
16 - Maintain fire detection and suppression systems in service; in the exceptional cases where they must be impaired, Group insurers must be informed before the activity starts, and additional precautions taken based on a risk assessment
17 - Has information been obtained to ensure that there are no Asbestos Containing Materials present?
18 - Is an atmosphere test required? If yes, please complete session below.
Before the Operation | Hour | By | Middle of the operation | Hour | By | End of the operation |  | Hour | By
OXYGEN | Value : | Pass / Fail | OXYGEN | Value : | Pass / Fail | OXYGEN |  | Value : | Pass / Fail
CARBON MONOXIDE | Value : | Pass / Fail | CARBON MONOXIDE | Value : | Pass / Fail | CARBON MONOXIDE |  | Value : | Pass / Fail
FLAMMABLE GASES | Value : | Pass / Fail | FLAMMABLE GASES | Value : | Pass / Fail | FLAMMABLE GASES |  | Value : | Pass / Fail
OTHER (SPECIFY) | Value : | Pass / Fail | OTHER (SPECIFY) | Value : | Pass / Fail | OTHER (SPECIFY) |  | Value : | Pass / Fail
OTHER (SPECIFY) | Value : | Pass / Fail | OTHER (SPECIFY) | Value : | Pass / Fail | OTHER (SPECIFY) |  | Value : | Pass / Fail
In case of FAIL Value or in case of GAS DETECTOR ALARM, STOP THE OPERATION IMMEDIATELY AND LEAVE HOT WORK AREA.
Other precautions required?
Other safety equipment required?
AUTHORISATION ACCEPTANCE
I confirm that I have verified the above information and ensured that the necessary precautions have been taken. In case of additional high risk activities, i have completed the additional permit to work (Confined space, Electrical or Work at height Permit to work). It is safe to carry out the work as defined above and the permit information has been explained to all workers involved. I accept responsibility for the work to be completed as agreed. * Any "No scoring" in the precaution checks must have been solved prior to Permit to Work acceptance.
|  |  |  | COMPANY |  | SIGNATURE |  | PERMIT STARTS
PERMIT ISSUER | NAME | [6 empty] | Day | Month | Year
PERSON IN CHARGE
PERMIT APPLICANT | NAME | [7 empty] | Hour | Min
FIRE WATCH PERSON | NAME | [6 empty] | PERMIT EXPIRES
WORKING PARTY 1 | NAME | [6 empty] | Day | Month | Year
WORKING PARTY 2 | NAME | [7 empty] | Hour | Min
WORKING PARTY 3 | NAME
WORKING PARTY 4 | NAME | [6 empty] | TASK DURATION :
HANDOVER
I confirm that the work has not been completed and I'm handing the task over.
|  |  |  | COMPANY |  | SIGNATURE
PERMIT ISSUER | NAME | [6 empty] | Day | Month | Year
PERMIT APPLICANT | NAME | [7 empty] | Hour | Min
WATCH PERSON | NAME
I confirm that that I have been briefed and reviewed the current status of the work area and accept the controls in place.
|  |  |  | COMPANY |  | SIGNATURE
NEW PERMIT ISSUER | NAME | [6 empty] | Day | Month | Year
NEW PERMIT APPLICANT | NAME | [7 empty] | Hour | Min
NEW WATCH PERSON | NAME
HAND BACK AND TERMINATION
I confirm that the work has been completed/partially completed*, checked by myself, fire watch completed and the area left in safe and tidy conditions. (*delete as appropriate)
PERMIT APPLICANT | NAME |  |  |  | Date | Hour | Min | Signature :
I have inspected the completed/partially completed*, confirmed fire watch minimum 30 minutes after work and hereby cancel this permit. (*delete as appropriate) All detectors, safety equipment have been put back in operation.
FIRE WATCH | NAME |  |  |  | Date | Hour | Min | Signature :
PERMIT ISSUER | NAME |  |  |  | Date | Hour | Min | Signature :

## High-Risk Activities Appendix 1
Construction factors - what the building is made of.
|  | Non combustible construction |  | Combustible construction with and without concealed cavities
|  | Watch - continuous | Monitor - Periodic checking (1) – at intervals up to the period specified or more frequently based on the risk assessment | Watch - continuous | Monitor - Periodic checking (1) – at intervals up to the period specified or more frequently based on the risk assessment
Occupancy - the activity in the building | Non Combustible with any combustibles contained within closed equipment (example ignitable liquid within piping | 30 minutes | Not required | 1 hour | 5 hours
| Office, retail, or manufacturing with combustible loading. | 1 hour | 2 hours | 1 hour | 5 hours
| All Warehousing | 1 hour | 2 hours | 1 hour | 5 hours
| Exceptions: Occupancies with processing or bulk storage of combustible materials capable of supporting slow growing fires. (Examples Paper, Pulp, Textile Fibres, Wood, Bark, Grain, Coal, Coke or Charcoal) | 1 hour | 3 hours | 1 hour | 5 hours
Periodic Checking
(1) After the post-work fire watch has concluded, perform fire monitoring within the hot work area. Use one of the fire monitoring methods listed below
A. Automatic smoke detection system with remote alarm that sounds in a constantly-attended location.
B. Security video cameras with clear coverage of the hot work area. Locate camera displays in a constantly-attended location. Cameras with infrared capability are preferred.
C. Operators routinely present in the hot work area. Train operators to monitor for fire-safe conditions, maintain required precautions in place, and notify emergency contacts before making any attempt to extinguish the fire.
D. Personnel to intermittently patrol the hot work area for fire-safe conditions. At a minimum, patrol the hot work area at least every 15 minutes. Train personnel to monitor for fire-safe conditions, maintain required precautions in place, and notify emergency contacts prior to attempting to extinguish a fire, regardless of size. Therefore if the risk assessment calls for a 2 hour monitoring period the area should be checked every 15 minutes for the 2 hour period.

## ELECTRICAL PTW
PERMIT TO WORK
ELECTRICAL |  |  |  |  | Permit Number:
JOB LOCATION :
JOB DETAILS :
IS ANY OTHER WORK CURRENTLY UNDERTAKEN THAT MAY AFFECT THIS PERMIT : YES / NO . IF YES GIVE DETAILS.
THIS PERMIT IS ONLY VALID WHEN ALL SECTIONS ARE COMPLETE. DO NOT PROCESS WITH YOUR WORK UNTIL YOUR PERMIT HAS BEEN AUTHORISED BY THE RELEVANT MEMBERS OF STAFF AND THE "NO SCORING" FROM THE PRECAUTION CHECKLIST HAVE BEEN SOLVED !
PRECAUTIONS CHECKLIST
PLEASE ANSWER THE FOLLOWING QUESTIONS TRUTHFULLY, IF IN DOUBT, CONSULT YOUR MANAGER FOR ASSISTANCE. | [5 empty] | Yes | No | N/A
1 - Has a risk assessment on the shopfloor been carried out? And a safe system of work been proposed and all interested parties trained in ensuring they follow this?
2 - Are emergency arrangements agreed & formally in place in the event of a need to rescue or safely remove of an injured person?
3 - Are the persons involved in the job, qualified & trained to undertake electrical work?
4 - Has the relevant department been advised of isolation?
5 - Has the electrical supply been switched off? LTT implemented?
6 - CO2 Fire extinguisher available and personnel trained in use of extinguishers?
7 - Is a voltage detection instrument required?
8 - Is appropriate earthing or grounding in place as needed?
9 - Does the high Voltage working require a second electrician as watch man?
10 - Are caution/danger signs displayed appropriately and area cordoned off ?
11 - Is a defibrillator immediately accessible?
12 - Is the lighting appropriate to undertake the work safely?
13 - To complete the work safely, if circuit breakers are required please state where and why?
14 - To complete the work safely if insulating mats/screen are required please state where and why?
15 - If needed, is the insulator Logged off/ Tagged off safely?
16 - Has any Risk associated with insulating or other materials within the building panels considered?
17 - Has a test for been undertaken identifying any equipment which is not live been conducted?
18 - For high voltage work, is a second electrician present in case of emergency requirements?
Other precautions required?
Other safety equipment required?
AUTHORISATION ACCEPTANCE
I confirm that i have verified the above information and ensured that the necessary precautions have been taken. In case of additional high risk activities, i have completed the additional permit to work (Confined space, Hot Work or Work at height Permit to work). It is safe to carry out the work as defined above and the permit information has been explained to all workers involved. I accept responsibility for the work to be completed as agreed. * Any "No scoring" in the precaution checks must have been solved prior to Permit to Work acceptance.
|  | COMPANY |  | SIGNATURE |  | PERMIT STARTS
PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
PERSON IN CHARGE | NAME
PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
WATCH PERSON | NAME |  |  |  |  | PERMIT EXPIRES
WORKING PARTY 1 | NAME |  |  |  |  | Day | Month | Year
WORKING PARTY 2 | NAME | [5 empty] | Hour | Min
WORKING PARTY 3 | NAME
WORKING PARTY 4 | NAME |  |  |  |  | TASK DURATION :
HANDOVER
I confirm that the work has not been completed and I'm handing the task over.
|  | COMPANY |  | SIGNATURE
PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
WATCH PERSON | NAME
I confirm that that i have been briefed and reviewed the current status of the work area and accept the controls in place.
|  | COMPANY |  | SIGNATURE
NEW PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
NEW PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
NEW WATCH PERSON | NAME
HAND BACK AND CANCELLATION
I confirm that the work has been completed/partially completed*, checked by myself and the area left in safe and tidy conditions. (*delete as appropriate)
PERMIT APPLICANT | NAME |  | Date | Hour | Min | Signature :
I have inspected the completed/partially completed* work and hereby cancel this permit. (*delete as appropriate)
PERMIT ISSUER | NAME |  | Date | Hour | Min | Signature :

## WORK AT HEIGHT PTW
PERMIT TO WORK
WORK AT HEIGHT |  |  |  |  | Permit Number:
JOB LOCATION :
JOB DETAILS :
IS ANY OTHER WORK CURRENTLY UNDERTAKEN THAT MAY AFFECT THIS PERMIT : YES / NO . IF YES GIVE DETAILS.
THIS PERMIT IS ONLY VALID WHEN ALL SECTIONS ARE COMPLETE. DO NOT PROCESS WITH YOUR WORK UNTIL YOUR PERMIT HAS BEEN AUTHORISED BY THE RELEVANT MEMBERS OF STAFF AND THE "NO SCORING" FROM THE PRECAUTION CHECKLIST HAVE BEEN SOLVED !
PRECAUTIONS CHECKLIST
PLEASE ANSWER THE FOLLOWING QUESTIONS TRUTHFULLY, IF IN DOUBT, CONSULT YOUR MANAGER FOR ASSISTANCE. | [5 empty] | Yes | No | N/A
1 - Confirm that there are no reasonably practicable alternatives to work at height?
2 - Risk assessment on the shopfloor and method statement/safe system of work documented and take into account falling risk as well as associated hazards e.g. falling objects, overhead lines, weather, unauthorised access, fragile surfaces?
3 - Are the persons involved in the job, medically fit, qualified & trained to undertake Work at Height?
4 - Are Workers suitably qualified to erect/use access equipment or fall arrest equipment involved? e.g. Lift Platforms
5 -Is area to be cordoned off? Are appropriate signs and area demarkation tapes to be erected?
6 - Are crawls board with handrails and roiling ladder to be used?
7 - Is fall prevention e.g. edge protection / guard railings / toe boards, used where appropriate in preference to methods which minimise the consequences of a fall?
8 - Is a valid rescue plan in place, where appropriate, with equipment readily to hand and workers trained? e.g. for use of nets and air bags
9 - Ladders only to be used after check for access and light, short duration work? Access equipment to be used only for its intended purpose, in the manner designed and within its rated capacity?
10 - Harnesses to be worn and attached to a secure point by an inertia device, or by a line so short so as to prevent a fall? Required for use of Mobile Elevated Working platforms, access cradles, locations without edge protection
11 - Is scaffolding and/or harness required?
12 - Does Scaffolding have certificate of inspection by competent person prior to use as well as arrangements for re-inspection every 7 days or as necessary e.g. after high winds?
13 - Maximum height of tower scaffold within manufacturers spec?
14 - Has harness been inspected?
15 - Are weather condition acceptable? (absence of Wind, Rain, Ice, snow, blizzard..)
16 - If there are there any ducts or outlets on roof, has a work plan and work areas been arranged to avoid these areas?
17 - If yes, any hazards from fumes, etc.?
18 - If any skylights, fragile roof or roof light, glass panels present, are the people performing the work aware of the risk?
19 - Is Personal Protective Equipment required?
20 - Competent supervision provided?
Other precaution required?
Other safety equipment required?
AUTHORISATION ACCEPTANCE
I confirm that i have verified the above information and ensured that the necessary precautions have been taken. In case of additional high risk activities, i have completed the additional permit to work (Confined space, Hot Work or Electrical Permit to work). It is safe to carry out the work as defined above and the permit information has been explained to all workers involved. I accept responsibility for the work to be completed as agreed. * Any "No scoring" in the precaution checks must have been solved prior to Permit to Work acceptance.
|  | COMPANY |  | SIGNATURE |  | PERMIT STARTS
PERMIT ISSUER PERSON | NAME |  |  |  |  | Day | Month | Year
PERSON IN CHARGE | NAME
PERMIT ACCEPTER PERSON : | NAME | [5 empty] | Hour | Min
WATCH PERSON : | NAME |  |  |  |  | PERMIT EXPIRES
WORKING PARTY 1 | NAME |  |  |  |  | Day | Month | Year
WORKING PARTY 2 | NAME | [5 empty] | Hour | Min
WORKING PARTY 3 | NAME
WORKING PARTY 4 | NAME |  |  |  |  | TASK DURATION :
HANDOVER
I confirm that the work has not been completed and I'm handing the task over.
|  | COMPANY |  | SIGNATURE
PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
WATCH PERSON : | NAME
I confirm that that i have been briefed and reviewed the current status of the work area and accept the controls in place.
|  | COMPANY |  | SIGNATURE
NEW PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
NEW PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
NEW WATCH PERSON : | NAME
HAND BACK AND CANCELLATION
I confirm that the work has been completed/partially completed*, checked by myself and the area left in safe and tidy conditions. (*delete as appropriate)
PERMIT APPLICANT | NAME |  | Date | Hour | Min | Signature :
I have inspected the completed/partially completed* work and hereby cancel this permit. (*delete as appropriate)
PERMIT ISSUER | NAME |  | Date | Hour | Min | Signature :

## GENERAL PTW
PERMIT TO WORK
GENERAL |  |  |  |  | Permit Number:
JOB LOCATION :
JOB DETAILS : (Only 1 task/permit !)
IS ANY OTHER WORK CURRENTLY UNDERTAKEN THAT MAY AFFECT THIS PERMIT : YES / NO . IF YES GIVE DETAILS.
THIS PERMIT IS ONLY VALID WHEN ALL SECTIONS ARE COMPLETE. DO NOT PROCESS WITH YOUR WORK UNTIL YOUR PERMIT HAS BEEN AUTHORISED BY THE RELEVANT MEMBERS OF STAFF AND THE "NO SCORING" FROM THE PRECAUTION CHECKLIST HAVE BEEN SOLVED !
PRECAUTIONS CHECKLIST
PLEASE ANSWER THE FOLLOWING QUESTIONS TRUTHFULLY, IF IN DOUBT, CONSULT YOUR MANAGER FOR ASSISTANCE. | [5 empty] | Yes | No | N/a
1 - Are the contractors/workers concerned qualified and competent to undertake the identified tasks or activities?
2 - Have the contractors/workers received the appropriate site and area safety induction before commencing work?
3 - Have a formal risk assessment on the shopfloor and safe system of work of the area and activities been completed before work begins?
X - Is there No risk for Tooling, Material (Water) used by the Contractors/ Workers to get in contact by any means with a source of Electricity?
4 - Is there any other task related permit required? Have all specific permits been issued?
5 - Is all plant and equipment in the area affected by the contractors work safely isolated and locked off?
6 - Have the contractors/worker been made aware of where the nearest call point is and site fire/emergency/evacuation rules?
7 - Have the contractors/worker been given an emergency and first aid contact responsible for the area of work?
8 - Do the people performing the work have the right PPE Required to perform the job safely?
9 - Are all equipment, including ladders, scaffold, lifting, MEWPs, electrical and mechanical equipment fit for purpose?
10 - Are the hazardous material to be used during performing the task been identified approved, controlled and secured?
11 - Is the use of services required (Water, Electric, Gas, Compressed air) available?
12 - Are suitable arrangements in place should lone work operations be required?
13 - Have any other work actvities which could impact on the safety of this permit been suspended as required in this area to ensure that there is no coactivity taking place?
14 - Is the area in which work is to take place clearly identified and has it been suitably cordoned off?
15 - Have neighbouring areas been assessed for risks to local workers, contact with vehicles or other dangers?
16 - Have any additional risks or hazards (Flammable, chemicals,..) been identified and either removed or protected to prevent harm to people?
17 - Is appropriate lifting equipment available for use to avoid manual handling of loads over 23 kg?
18 - Is competent supervision present throughout the duration of the work?
19 -Are any wastes generated by the task suitably identified, contained and controlled to be correctly disposed off?
20 - Are any significant environmental impact risks from the task identified and controlled?
Are any other precautions required to be included?
Any other safety equipment required?
AUTHORISATION ACCEPTANCE
I confirm that I have verified the above informations and ensured that the necessary precautions have been taken. It is safe to carry out the work as defined above and the permit information has been explained to all workers involved. I accept responsibility for the work to be completed as agreed.
|  | COMPANY |  | SIGNATURE |  | PERMIT STARTS
PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
PERSON IN CHARGE | NAME | [5 empty] | Hour | Min
PERMIT APPLICANT | NAME |  |  |  |  | PERMIT EXPIRES
WATCH PERSON : | NAME |  |  |  |  | Day | Month | Year
WORKING PARTY 1 | NAME | [5 empty] | Hour | Min
WORKING PARTY 2 | NAME
WORKING PARTY 3 | NAME |  |  |  |  | TASK DURATION :
WORKING PARTY 4 | NAME
HANDOVER
I confirm that the work has not been completed and I'm handing the task over.
|  | COMPANY |  | SIGNATURE
PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
WATCH PERSON | NAME
I confirm that that i have been briefed and reviewed the current status of the work area and accept the controls in place.
|  | COMPANY |  | SIGNATURE
NEW PERMIT ISSUER | NAME |  |  |  |  | Day | Month | Year
NEW PERMIT APPLICANT | NAME | [5 empty] | Hour | Min
NEW WATCH PERSON : | NAME
HAND BACK AND CANCELLATION
I confirm that the work has been completed/partially completed*, checked by myself, and the area left in safe and tidy conditions. (*delete as appropriate)
PERMIT ACCEPTER | NAME |  | Date | Hour | Min | Signature :
I have inspected the completed/partially completed* after work and hereby cancel this permit. (*delete as appropriate) All man have withdraw from the area.
WATCH PERSON | NAME |  | Date | Hour | Min | Signature :
PERMIT ISSUER | NAME |  | Date | Hour | Min | Signature :

## BACK GENERAL - V2
PERMIT TO WORK
|  | BACK |  | Permit Number:
TASK OVERVIEW / SAFE SYSTEM OF WORK (List Steps in order)
STEP 1
STEP 2
STEP 3
STEP 4
STEP 5
STEP 6
STEP 7
STEP 8
RISK ASSESSMENT
STEPS | WHAT COULD GO WRONG ? (MACHINE, EQUIPMENT, PEOPLE, ORGANISATION, ENVIRONMENT) | HOW COULD IT HURT SOMEBODY ? (INCLUDING WHO CAN BE HARMED) - WITHOUT ANY CONTROLS. | CONTROLS (COLLECTIVE PROTECTION, PPE, INSTRUCTION, TRAINING, VISUALISATION, OTHERS) |  | IMPLEMENTED ?
EMERGENCY / RESCUE PLAN
RESCUE PLAN A :
RESCUE PLAN B (IN CASE PLAN A FAILS) :
AUDIT (At least one per shift)
WHO : |  |  |  | DATE :
ACTION TO BE IMPLEMENTED |  |  |  | WHO : | WHEN :
ACTION TO BE IMPLEMENTED |  |  |  | WHO : | WHEN :
ACTION TO BE IMPLEMENTED |  |  |  | WHO : | WHEN :